P.S.R. ENGINEERING COLLEGE SIVAKASI-626 140

(An Autonomous Institution, Affiliated to Anna University, Chennai)

| Programme: | B.E. | Branch | Electronics and Communication Engineering |
| --- | --- | --- | --- |
| Acad. Year: | 2018-2019 | Year/Semester | IIYr/ III Sem |
| Course Code: | 161EC34 | Course Name | Electronic Measurements and Instrumentation |
| Course Tutor(s): | Mr.N.S.Yoga Ananth, AP/ECE Ms.V.Rohini AP/ECE |

| UNIT- I |
| --- |
| Part -A |
|  | Distinguish between accuracy and precision. |
|  | List the base units in SI system. |
|  | Define standard. List out the various standards of measurements. |
|  | Define the term error. |
|  | Compare static and dynamic characteristics of measurement system. |
|  | Categorize various dynamic characteristics of a measurement system. |
|  | Distinguish between accuracy and precision. |
|  | Compare moving coil and moving iron meters. |
|  | What are the two conditions to be satisfied to make an AC Bridge balanced. |
|  | List the errors in moving coil meters. |
|  | What is true RMS voltmeter? |
|  | Compare moving coil and moving iron meters. |
|  | PART-B |
|  | Discuss in detail the various static and dynamic characteristics of measurement system. | 8 |
|  | Classify the errors and with suitable examples explain how the errors can be minimized. | 8 |
|  | Explain in detail about True RMS meters? | 8 |
|  | Categorize and explain the different types of standards and measurement | 8 |
|  | Explain in detail about schering Bridge. Derive the expression for the capacitance and dissipation factor. | 16 |
|  | Discuss in detail about the moving iron meters with neat sketch. | 16 |
|  | Demonstrate the construction of a moving coil meter with relevant diagram and obtain the expression for deflection of the coil. | 16 |
|  | Illustrate in detail about the following bridge measurement system. i. Anderson Bridge ii. Wien Bridge | 16 |
|  | Unit-II |  |
|  | PART A |  |
|  | Define the deflection sensitivity of CRT. |  |
|  | List the advantages of digital storage oscilloscope. |  |
|  | What is aquadag and state its purpose. |  |
|  | What will happen when sweep signal is applied to horizontal plates of CRO? |  |
|  | Distinguish between analog and digital storage oscilloscope. |  |
|  | What are the uses of delay lines in CRO. |  |
|  | What is Fluorescence? |  |
|  | List the main parts of CRT. |  |
|  | What is vector voltmeter? |  |
|  | Define Q factor. |  |
|  | What are Lissajous figures? What factor determines shape of the figures? |  |
|  | Recall the principle of sampling oscilloscope. |  |
|  | PART B |  |
|  | Discuss the important specifications of an electronic multimeter. Analyze with how it is used for making measurements with diagram. | 16 |
|  | Explain in detail about the various blocks of a general purpose CRO. | 16 |
|  | Discuss in detail about the construction of sampling oscilloscope and explain the method of high frequency measurement using a sampling oscilloscope. | 16 |
|  | Distinguish between the digital storage oscilloscope and analog storage oscilloscope. | 6 |
|  | Construct the basic block diagram of a digital storage oscilloscope and explain the operation. | 16 |
|  | Explain the vector impedance meter with a neat block diagram. | 8 |
|  | Explain the vector voltmeter with a neat block diagram. | 8 |
|  | Discuss in detail about the working principle of Q meter. What are the various sources of error in a Q meter? | 16 |
|  | Explain how to measure the RF power with suitable diagrams. | 8 |
|  | UNIT-III |  |
|  | PART A |  |
|  | Tell the functions of an attenuator in a signal generator. |  |
|  | What is heterodyne principle. |  |
|  | List the application of Wave Analyzer. |  |
|  | What are the requirements of a signal generator. |  |
|  | Name any two applications of frequency synthesizer |  |
|  | Define Rise time and Fall time of a pulse. |  |
|  | How can frequency be synthesized using indirect method? |  |
|  | Discriminate wave analyzer and harmonic distortion analyzer. |  |
|  | What is intermodulation distortion? |  |
|  | What is harmonic distortion? |  |
|  | List the applications of a spectrum analyzer. |  |
|  | PART B |  |
|  | Explain the functional block diagram of Function generator and mention its features. | 16 |
|  | Construct the block diagram of wave analyzer and explain. | 16 |
|  | Illustrate frequency synthesizer and explain its types with suitable circuits in detail. | 8 |
|  | Describe the working principle of spectrum analyzer with neat block diagram. | 16 |
|  | Explain in detail about the operations of RF signal generators and sweep generators. | 8+8 |
|  | Demonstrate in detail about the fundamental suppression Harmonic distortion analyzer and its modes of operation. | 16 |
| 7. | Discuss the principle of pulse and square wave generators with neat diagram | 16 |
| 8. | Explain the indirect method of frequency synthesis with a neat diagram. | 8 |
|  | UNIT-IV |  |
|  | PART -A |  |
|  | Distinguish between analog and digital measurement techniques. |  |
|  | List the advantages of digital instruments. |  |
|  | What is the principle of ramp type DVM. |  |
|  | What are the advantages of digital voltmeter. |  |
|  | List the features of digital multimeter. |  |
|  | Why period mode is preferred for measurement of very low frequency in a frequency counter? |  |
|  | Name the techniques used to increase the frequency range of the counter. |  |
|  | List the methods to reduce trigger time error. |  |
|  | What is the importance of gate time in frequency counter? |  |
|  | PART-B |  |
|  | Construct the block diagram of a digital multimeter and explain. Summarize the specifications of digital multimeter. | 8 |
|  | Explain the working of linear ramp type DVM with neat diagram. | 8 |
|  | Interpret the functioning of the following DVM Ramp type DVM Integrating type DVM | 16 |
|  | Explain the working of Successive approximation type DVM with neat block diagram. | 8 |
|  | Explain the frequency and time interval measurement using digital instruments. | 16 |
|  | Summarize the methods used to increase the range of frequency counter. | 8 |
|  | Illustrate the digital frequency meter with relevant circuit diagram. | 8 |
|  | UNIT-V |  |
|  | PART A |  |
|  | What is data acquisition system? |  |
|  | Outline the importance of sample and hold circuit in digital data acquisition system. |  |
|  | Categorize the elements of Digital data acquisition system. |  |
|  | What are the parts of optical power meter? |  |
|  | List the hand shake signals in the IEEE 488 Bus system. |  |
|  | Mention the features of instrumentation amplifier. |  |
|  | What are the requirements of automatic test system. |  |
|  | Name the procedure to measure power loss in a fiber optic measurement. |  |
|  | What is reflectometer? |  |
|  | List the drawbacks of reflectometer. |  |
|  | PART B |  |
|  | Explain the basic components in analog and digital data acquisition system with neat diagram | 8 |
|  | Explain in detail about interfacing of transducer. | 16 |
|  | Discuss the multiplexing techniques in data acquisition systems. | 8 |
|  | Express the power and system loss measurement using fiber optic techniques | 8+8 |
|  | Outline the need for a computer controlled test system. Discuss in detail about the IEEE 488 bus structure. | 16 |
|  | Discuss in detail the computer controlled measurement system for Testing an audio amplifier. Testing a radio receiver | 16 |
|  | Extrapolate the following Fiber optic power measurement. Optical time domain reflector. | 16 |
|  | Illustrate computer controlled instrumentation with suitable block diagram. | 8 |