P.S.R. ENGINEERING COLLEGE SIVAKASI-626 140

(An Autonomous Institution, Affiliated to Anna University, Chennai)

QUESTION BANK

| Programme: | B.E. | Branch | Electronics and Communication Engineering |
| --- | --- | --- | --- |
| Acad. Year: | 2018-2019 | Year/Semester | IV Yr/VII Sem |
| Course Code: | 12EC7F | Course Name | Medical Electronics |
| Course Tutor: | Mr.S.Athimoolam AP/ECE and Ms.S.Mahalakshmi AP/ECE |

UNIT-I	ELECTRO-PHYSIOLOGY AND BIO-POTENTIAL RECORDING

PART - A

|  | Define the resting and acting potential? |
| --- | --- |
|  | Define the electrode potential? |
|  | Label the different types of biological amplifiers |
|  | Define electrodes and mention its types? |
|  | Outline the Einthoven triangle. |
|  | Show the Nernst equation of resting potential. |
|  | Write the statement of PH of a solution. |
|  | Define CMRR? |
|  | What is the purpose of electrode paste? |
|  | Where PCG is required? |

PART- B

|  | i)Analyze the ECG waveform in different levels and sketch wave form neatly. | 10 |
| --- | --- | --- |
|  | ii)What are the applications of EEG? | 6 |
|  | i)Classify the lead system of ECG with respective diagrams | 10 |
|  | ii)Outline the block diagram of EMG system with neat diagram | 6 |
|  | i)Explain the recording method of EEG wave form with neat block diagram. | 10 |
|  | ii) Analyze any one chemical electrode with simple block diagram. | 6 |
|  | Explain PCG with neat diagrams. | 16 |
|  | i) Construct the block diagram of isolation amplifier and explain its functions. | 8 |
|  | ii) Determine the voltage gain of instrumentation amplifier with neat diagram | 8 |

UNIT-II     	BIO-CHEMICAL AND NON ELECTRICAL PARAMETER MEASUREMENT

PART – A

|  | How to measure the PH value of a given solution? |  |
| --- | --- | --- |
|  | What is the principle used in colorimeter analysis? |  |
|  | List the various methods used to measure blood pressure. |  |
|  | List the different types of blood cells. |  |
|  | Define respiration and list the various types. |  |
|  | What are the various methods of blood flow measurement? |  |
|  | Label the different types of cardiac output measurement. |  |
|  | What are the two types of BP measurements? |  |
|  | Identify the samples of photo flame meter. |  |
|  | What is meant by dead air? |  |

PART- B

|  | i)Classify the blood pressure measurement methods and explain the any one method with diagram | 8 |
| --- | --- | --- |
|  | ii)Construct the block diagram of blood flow meter and explain the one types | 8 |
|  | i) Determine the WBC and RBC by using conductivity and Laser Based cell counting methods. | 10 |
|  | ii)Discuss the principles used in the colorimeter with simple diagram. | 6 |
|  | i)Outline the block diagram of blood flow meter and also explain the Doppler type ultrasonic blood flow meter. | 8 |
|  | ii)Name the different types of pulse measurement with simple diagram. | 8 |
|  | i )`Analyze the substances of a blood sample with neat diagram. | 10 |
|  | ii) Explain the temperature measurement with simple diagram. | 6 |
|  | Illustrate any three cardiac output measurements with neat diagrams. | 16 |

UNIT-III	ASSIST DEVICES AND BIO-TELEMETRY

PART - A

|  | What is pacemaker? |
| --- | --- |
|  | Name the types of pacemaker. |
|  | Spell the classification of pacemaker based on the mode of operation. |
|  | Spell the different types of fibrillation. |
|  | Define the implantable telemetry system |
|  | What is telemetry? |
|  | What is telemedicine? |
|  | Define the micro shock. |
|  | Name the different types of telemetry system. |
|  | Name the types of pacemaker. |

PART- B

|  | i)Explain the any two types of pacemakers with respective diagram. | 10 |
| --- | --- | --- |
|  | ii) Distinguish the internal and external pacemakers. | 8 |
|  | i) Construct a DC defibrillator circuit and explain its function. | 8 |
|  | ii) Demonstrate the wireless telemetry system. | 8 |
|  | Classify the different telemetry system. Demonstrate the block diagram of multichannel telemetry system and its advantages and disadvantages. | 16 |
|  | i) Develop shorts notes on Telemedicine and implantable telemetry system with simple diagram. | 10 |
|  | ii)Compare TDM and FDM telemetry system. | 6 |
|  | i)List the applications of telemedicine | 6 |
|  | ii) Explain the block diagram of typical telemedicine set up. | 10 |

UNIT-IV	MODERN IMAGING SYSTEMS

PART - A

|  | What are the two methods to obtain the X- ray? |
| --- | --- |
|  | Why digital radiography is better than the X – ray machine? |
|  | Spell the different uses of collimators and grid. |
|  | List the parts of digital X- Ray imaging system. |
|  | Name the three different types of radioactive emissions. |
|  | Recall the uses of radio isotopes. |
|  | Define the SPECT. |
|  | Show the schematic diagram of ionization chamber of Nuclear medical imaging system. |
|  | Define the detectors. |
|  | Recall about high voltage circuits in X- ray tube. |

PART- B

|  | i) Demonstrate the block diagram of X- Ray machine with diagram. | 10 |
| --- | --- | --- |
|  | ii) List the properties of X Ray | 6 |
|  | i) Create the block diagram for processing and read out electronics in digital radiography. | 10 |
|  | ii) Outline the performance of digital radio graph. | 6 |
|  | i) Explain the block diagram of CT scanner also write the advantages. | 8 |
|  | ii) Illustrate the data acquisition system in a CT scanner with simple block diagram. | 8 |
|  | i) Apply three dimensional diagnostic representation of SPECT and write about that system. | 8 |
|  | ii) Elaborate the biological effect of MRI and advantages of MRI. | 8 |
|  | i) Discuss about Position Emission Tomography Scanner with suitable diagram. | 10 |
|  | ii).Summarize the basic MRI components. | 6 |

UNIT-V	RECENT TRENDS IN MEDICAL INSTRUMENTATION

PART - A

|  | What are the principles involved in Laser? |  |
| --- | --- | --- |
|  | List the few applications of Laser in medical field. |  |
|  | List the different types of diathermy. |  |
|  | Summarize the electrotherapy. |  |
|  | Name the electrotherapy equipments. |  |
|  | Classify the different shocks. |  |
|  | What is leakage current? |  |
|  | Name the different types of devices used to arrest the electrical hazards in bio medical engineering. |  |
|  | Spell the different types of laser. |  |
|  | Identify the few precautionary steps to avoid leakage current. |  |

PART- B

|  | Discuss the principle of operation of laser with simple graph and classify the different types of laser. | 16 |
| --- | --- | --- |
|  | i) Create a story about semiconductor lasers with small graph. | 8 |
|  | ii) Identify the various applications of Laser. | 8 |
|  | i)Classify the various types of diathermy with neat diagrams | 10 |
|  | ii)List the applications of diathermy. | 6 |
|  | i)Explain the functional block diagram of therapeutic stimulating unit. | 8 |
|  | ii)Develop a story about Transcutaneous Electrical Nerve stimulator(TENS) | 8 |
|  | What is leakage current? and discuss the devices used to protect against electrical hazards. | 16 |